AKE200F_E2_Gladen

Solar Thermal Power Plants

Henner Gladen

The talk informs about the solar thermal power plant technology, the opportunities it presents and the developments in the market. The differences in technology and application compared to the use of photovoltaic systems more common in central Europe are explained.

The main focus is on the technology of parabolic trough power plants, a proven technology for solar power generation on a large scale. In a parabolic trough power plant, trough-shaped mirrors concentrate the sun rays onto a pipe in the focal line of the collector. The thermal energy thus generated is used for electricity generation in a steam turbine. Integration of a thermal storage system means that availability of the electricity can be scheduled. Thus, solar power plants can also generate electricity after sunset. Solar Millennium AG in Erlangen has developed the first such power plant in Europe – after two years of construction it will begin operation in southern Spain this summer. This power plant and its sister projects are important projects leading the way for the whole market.

The talk also covers the technological challenges, the key components used as well as the research and development activities concerning this technology. Solar thermal power plants are ideal for covering peak and medium loads in power grids. In hybrid operation these solar power plants can also cover basic loads. The talk concludes with a look at the future – the import of solar energy from the deserts of North Africa to central Europe.